## Slide 1: Historical Analysis of Wind Turbine Fire Incidents
VAHID FOROUGHI (BSc MSc PhD CFSP)
Dr. ADRIANA PALACIOS (BSc MSc PhD)
Dr. ERIKA PALACIOS (BSc MSc phd)
IChemE HAZARDS 33

## Slide 2: Agenda
Introductions
Background
Data Collection
Data Analysis
Results and Conclusion

## Slide 3: Background
Source: UK Hydrogen Strategy, BEIS, 2021

## Slide 4
Overview
SCOPE
&
GOALS
Scope: Historical Analysis of Wind Turbine Fire Incidents
Objective 1
Uncovering reported and unreported wind turbine fire incidents
Objective 2
Investigating the Roots of Wind Turbine Fires
Objective 3
Uncovering Hidden Risks for Advancing Safety in Wind Energy
Objective 4
Quantifying Wind Turbine Fires
IChemE Hazards 33
Notes: The main goal of this research is defined as Investigations the geometrical features and thermal impact of subsonic and sonic propane jet fires
In order to achieve this goal the following steps were followed:
Building a special experimental setup to make these flames, studying their shapes and sizes, so we can be safer.
Watching these flames closely to understand how they behave -.
Seeing what happens when these fiery flames hit something, like a pipe, to understand the danger they pose.
Also, checking if computer programs can help us predict and understand these flames.

## Slide 5
IAFSS
Renewable UK
Review existing data and reports from various sources
Wind Power Eng. Magazine
Media
414 wind turbine fire accidents were recorded globally between 1993 to 2021.
Background Research
Time Analysis
Location Analysis
Focus Areas of Data Analysis
Wind Characteristics Analysis
Turbine Brand Analysis
Data Collection
Data Analysis

## Slide 6: Data collection

## Slide 7
Figure. 1 Evolution of Wind Turbine Fire Incidents Over Time
- Evolution of Wind Turbine Fire Incidents Over Time
- Most Common Incident Types: Blade Failures, Fires, Structural Failures
- 126 Fatal Incidents Highlight the Importance of Safety
17.9% of Incidents: Blade Failures
14.5% of Incidents: Wind Turbine Fires
9.2% of Incidents: Structural Failures
(Tower Collapse and Turbine Damage)

## Slide 8: Data Analysis: Geographical Distribution
Figure 2- Distribution of wind turbine incidents around the world
United States: Leading in Reported Incidents
Germany: A Significant European Contributor
Asia's Growing Presence
Oceania, South America

## Slide 9: Data Analysis: Root Causes
Figure 3- Categorization of the causes of wind turbine incidents
Leading Cause: Lightning Strikes (20.83%):
Electrical Problems (14.58%)
Unknown/Not Stated" Category (14.58%)

## Slide 10: Data Analysis: Root Causes
Lightning Strikes (20.83%)
Electrical Problems (14.58%)
Unknown/Not Stated" Category (14.58%)
Mechanical Failures (12.50%)
Incidents During Maintenance (8.33%)
External Factors (8.33%)
Less Common Causes (2.08% to 4.17%): Power Overload, Animal Damage, Technical Faults, and Transformer Failures
Vulnerability to Natural Electrical Discharges
Maintenance and Inspection
Robust Reporting Systems
Robust Design and Maintenance
Prioritizing Safety Procedures
Fulfil Risk Mitigation Requirements
Fulfil Risk Mitigation Requirements for less predicted scenarios

## Slide 11: Data Analysis: Brands and Manufacturers
Figure 4- Photograph showing blade damage due to Typhoon Usagi
Primary cause: Extreme Wind Conditions (55%)
Secondary Causes (6% to 8% each): Blade Failure, Fire, Bolt Failure, Fatigue
Third Most Prevalent Causes (5% each): Brake Failure, Lightning, Faulty Construction

## Slide 12: Data Analysis: Brands and Manufacturers
Leading Wind Turbine Manufacturers in North America: Vestas, Gamesa, and GE Energy
Leading Manufacturers in European Wind Energy: Vestas, Enercon, and Gamesa
Diverse Manufacturer Dataset in Europe
Collective Impact of Incidents in Europe
The Need for In-Depth Analysis and Enhanced Safety in Europe
Importance of Comprehensive Data Collection and Investigations
Standardized Reporting Practices to Minimize Risks

## Slide 13: Data Analysis: Wind Potential Analysis
Correlation Between Wind Potential and Fire Incidents
Identifying the 2,000 kW Category as Having the Highest Incidents
Prevalent Capacities in North America: 1500 kW and 1650 kW
Frequent Capacities in Europe: 1500 kW and 1800 kW
Acknowledging Reporting Variations in European Countries
Need for Detailed Examination by Incident Type and Location
Higher-Capacity Turbines May Have Different Risk Factors and Safety Protocols

## Slide 14: Conclusions
Geographical Distribution and Manufacturer Analysis
Wind turbine incidents are a global concern, affecting regions across North America, Europe, Asia, South America, Australia, and more..
Notably, the United States leads in the number of reported incidents, emphasizing the need for rigorous safety measures in North America, given its prominent position in the wind energy sector.
Germany and other European countries also play significant roles, highlighting the importance of region-specific safety measures

## Slide 15: Conclusions
Brands and Manufacturers
Manufacturer analysis provided valuable insights into the safety records of various wind turbine manufacturers.
In North America, Vestas, Gamesa, and GE Energy are associated with incidents, while in Europe, Vestas, Enercon, and Gamesa emerge as prominent manufacturers.
The presence of incidents categorized as "Information Not Available" in both regions underscores the need for standardized reporting practices.

## Slide 16: Conclusions
Wind Potential Analysis
The evaluation of wind potential and its correlation with fire accidents in analyzed countries emphasized the importance of standardized data collection practices.
Power capacity analyses in North America and Europe revealed variations in incident counts across different power capacity categories.
The presence of the "Power Data Not Available" category highlights data limitations, indicating the need for better data collection practices.

## Slide 17: Conclusions
Trends and Insights
Different regions exhibit varying power capacity preferences, likely influenced by factors such as wind resources and energy demand.
Identifying common power capacity ranges within each region can assist manufacturers in tailoring their offerings.
Investigating the impact of power capacity on incident rates is crucial, as it can inform safety measures and practices.
The safety records of various manufacturers highlight areas for improvement in design and safety protocols.